## Slide 1
Seminar Presentation
On
INDUSTRIAL AUTOMATION
Sudip Mondal
Roll:25301613087
Department of Electrical Engineering
Sir J. C. Bose School of Engineering
(Supreme Knowledge Foundation group of Institutions)

## Slide 2
What is Automation?
Automation is basically the delegation of human control
function to technical equipment for
Increasing Productivity
Reducing Cost
Increasing Safety
Increasing Quality

## Slide 3
Not enough productivity, quality, huge investment
Total Automation
Increases productivity, quality and reduces labour cost and solution to manufacturing competitiveness
Why Automation is required in Industry

## Slide 4
– Sequence fixed
Fixed automation
– Sequence can be changed
Programmable automation
- The equipment is designed to manufacture a variety of products
Flexible automation
TYPES OF AUTOMATION :

## Slide 5
1.MANUAL CONTROL
2.PNEUMATIC CONTROL
3.HARD WIRE LOGIC CONTROL
    5.PLC
Progress In Automation:
Notes: Keywords:
phases, 4 phases, four phases, circles

## Slide 6: What is PLC?
PLC is a digital computer designed for multiple inputs and output arrangements, extended temperature ranges, immunity to electrical noise, and resistance to vibration and impact. A PLC is an example of a real time system.

## Slide 7
To reduce human efforts .
1
To get maximum efficiency from machine and control them with human logic .
2
To reduce complex circuitry of entire system .
3
To eliminate the high costs associated with inflexible, relay-controlled systems
4
WHY PLC ?

## Slide 8
Major Components of a Common PLC
PROCESSOR
POWER
SUPPLY
I M
N O
P D
U U
T L
E
O M
U O
T D
P U
U L
T E
PROGRAMMING DEVICE
From SENSORS
Pushbuttons,
contacts,
limit switches,
etc.
To
OUTPUT
Solenoids, contactors, alarms
etc.

## Slide 9: PLC Operation Sequence :
Self test
Input scan
Logic scan
Output
scan
1)Self test: Testing of its own hardware and software for faults.
2)Input scan: If there are no problems, PLC will copy all the inputs
and copy their values into memory.
3)Logic solve/scan: Using inputs, the ladder logic program is solved
once and outputs are updated.
4)Output scan: While solving logic the output values are updated
only in memory when ladder scan is done, the
outputs will be updated using temporary values in
memory.

## Slide 10: Programming Languages of PLC:
Most common languages encountered in PLC programming are:
1) Ladder Logic
2) Functional Block Diagram
3) Sequential Function Chart
4) Boolean mnemonics

## Slide 11: Advanced Automation: SCADA
SCADA stands for Supervisory Control And Data Acquisition.
SCADA refers to a system that collects data from various sensors at a factory, plant or in other remote locations and then sends this data to a central computer which then manages and controls the data.

## Slide 12
Medical Field
Bomb Disposal Industry
Aerospace
Manufacturing Unit
Automation
AREAS OF APPLICATION:

## Slide 13
Automation is the use of control systems and information technologies reducing the need for human intervention.
Illustration of Some Industrial Automation

## Slide 14
Automation In Electronics
Positioning of Components:

## Slide 15
Replacing human operators in dangerous environments and beyond human capabilities.
High speed of operation.
Easily programmed and have an easily understood programming language.
Improves productivity.
Improves quality.
Reduces space and saves energy.
Advantages of Automation:

## Slide 16
PLC devices are proprietary.
Initial costs are high.
There's too much work required in connecting wires.
Unemployment rate increases in particular unit.
Limitations of Automation:

## Slide 17
Conclusion:
Automation is a high growth sector globally hence it is essential to all professionals and students to have practical knowledge about the hardware and software used in Industrial Automation. Today the PLCs are used for control & automation job in a single machine & it increases up to full automation of manufacturing / testing process in a factory.

## Slide 19
Any Questions